Title: Technical Profile – Hardware Monitoring Module
Version: v20251023
Owner: Ahsan Kamal
Reviewer(s): Tobias Bessone
Next Review Date: 2026-04-23

1. System Overview

The Hardware Monitoring Module is an integrated component within Wavetec’s Spectra Dashboard, designed to provide real-time visibility and health tracking of all physical devices connected to the Queue Management System (QMS).
It continuously monitors kiosks, Donatello digital signage, controllers, and other peripherals across branches, collecting operational data to ensure uninterrupted service delivery.

By consolidating all branch-level device statuses into a single dashboard, the Hardware Monitoring Module allows administrators to proactively identify hardware faults, take corrective actions, and maintain optimal uptime across the entire customer-service network.

2. Functional Capabilities

- Real-Time Device Tracking: Monitors live hardware connectivity and operational status of kiosks, controllers, Donatello units, ACUs, and counters.

- Centralized Monitoring Interface: Displays all connected branch devices through an integrated Spectra Dashboard view.

- Device Health Indicators:

  - Green — Active / Operational

  - Red — Not Reachable / Critical

- Branch-Wise Overview: Lists all connected devices with branch name, MAC address, device type, and health status.

- Tabular and Graphical Views: Allows managers to analyze hardware health through tables and visual dashboards.

- Instant Alerts: Sends email or SMS notifications for connectivity failures or device downtime.

- Proactive Maintenance: Supports early detection of issues, enabling corrective action before service disruption.

- Multi-Branch Aggregation: Consolidates monitoring data from multiple branches into a unified enterprise dashboard.

3. Technical Architecture / Specifications

| Component | Description |
| --- | --- |
| Integration Layer | Integrated with Spectra Dashboard and Spectra Engine |
| Application Type | Web-based monitoring module |
| Data Sources | Device controllers, kiosks, Donatello, ACU, counter interfaces |
| Backend Services | REST API / WebSocket from Spectra Engine |
| Database | PostgreSQL / SQL Server |
| Communication Protocols | HTTPS / TLS 1.2+, MQTT / WebSocket for device events |
| Alert Mechanisms | Email / SMS notification profiles |
| Supported Devices | Kiosks (F-19, M-13, Vertica), Controllers (XPI), Donatello Signage, ACU, TDUs |
| Browser Compatibility | Chrome, Edge, Firefox (latest two versions) |
| Scalability | 200+ branches and thousands of devices monitored concurrently |

4. Integration & Interoperability

- Spectra Engine: Collects real-time device data and operational heartbeats.

- Spectra Dashboard: Acts as the visualization layer for monitoring and reporting.

- Spectra Management Portal: Provides device registration, branch mapping, and authentication data.

- Notification Services: Email and SMS alerts configured via external gateways.

- Third-Party Integration: APIs available for external monitoring tools (Grafana, Prometheus, Nagios).

- Donatello Digital Signage: Monitored via controller heartbeat and network ping status.

- Controllers (XPI): Serve as local communication hubs feeding device telemetry to the Dashboard.

5. Compliance & Security

- Encryption: TLS 1.2+ ensures secure data transfer between branches and servers.

- Access Control: Role-based user authentication managed via Spectra Portal.

- Data Privacy: Device logs contain no PII; only operational metadata is collected.

- Audit Logging: All alerts and device status changes recorded with timestamps.

- Standards Compliance: ISO 9001 quality assurance and ISO/IEC 27001 information-security alignment.

- Alert Integrity: Notification channels authenticated to prevent spoofing or false positives.

6. Deployment & Scalability

- Deployment Model: Hosted as part of the Spectra Dashboard on central or cloud servers.

- Scalability: Monitors devices from 200+ branches in a single enterprise view.

- High Availability: Redundant controller connectivity ensures no monitoring gaps.

- Performance: Real-time updates every 10–30 seconds per branch device.

- Bandwidth Usage: Typically < 100 kbps per monitored device.

- Upgrade Cycle: Quarterly enhancements aligned with Spectra Dashboard releases.

7. Maintenance & Support

- Monitoring Frequency: Continuous polling and WebSocket updates.

- Error Handling: Alerts generated for devices not reachable beyond configured thresholds.

- Data Retention: Status logs stored for 90 days (configurable).

- SLA: 15 min acknowledgment / 1 hr resolution benchmark.

- Training: Included in administrator training under Spectra Dashboard.

- Support Framework: 24 / 7 monitoring and ticket-based escalation under SLA.

8. Environmental / Operational Considerations

- Fully web-based; no installation required.

- Requires minimal additional hardware resources.

- Operates continuously with negligible CPU load (<10%).

- Runs within secure, climate-controlled hosting environments.

- Can be hosted in the same data center as the Spectra Engine or on a dedicated VM.

9. Alignment with General Tender Requirements

| Requirement | Hardware Monitoring Module Compliance |
| --- | --- |
| Centralized Hardware Visibility | ✓ Real-time device monitoring and alerts |
| Integration with QMS | ✓ Embedded within Spectra Dashboard |
| Proactive Maintenance | ✓ Instant notifications and status indicators |
| Security & Privacy | ✓ TLS encryption / ISO-aligned data handling |
| Multi-Branch Monitoring | ✓ Supports nationwide deployments |
| Reporting & Analytics | ✓ Tabular and graphical dashboards |
| Maintenance Responsibility | ✓ Contractor supplied and maintained |
| Scalability | ✓ 200 + branches and thousands of devices |

10. Gaps & Assumptions

| Category | Description |
| --- | --- |
| Alert Channel Providers | Email / SMS gateway integration to be defined per client infrastructure. |
| Polling Interval | Default 10–30 sec; can be adjusted per system performance. |
| Third-Party Compatibility | Integration with Grafana / Prometheus assumed via REST API. |
| Database Version | PostgreSQL 14+ or SQL Server 2019 assumed. |
| Accessibility Standards | WCAG not explicitly defined; standard responsive UI supported. |
| Log Retention Period | 90 days by default; configurable. |
| Localization | Unicode-supported interface; additional translations on demand. |
| Energy Certification | Dependent on hosting provider; assumed green compliance. |
| SLA Verification | 15 min / 1 hr per Wavetec policy; final terms contractual. |
| Performance Benchmark | Device update interval not fixed; assumed sub-30 sec refresh. |